## Commercial
Lauh Purush Sardar Vallabh Bhai Patel Sahakari Shakkar Karkhana Mydt. Pandaria, Distt.-Kabirdham (C.G.)
Invitation of E-Tender for Electrical & Instrument Section (Bearing, Aluminium Lugs, Relay,Connector, Sensor, Solenoide Valve, Transmitter & Gauge etc. ) - (2025-26)
E-Tender No. 174913 Dated- 12-09-2025 (Non Authorised Items)
Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial NO | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price
LSPSSKM | NS | 2025 | 1 | PVC Tape Red, Yellow, Black,Blue Make - Steelgrip For Electrical | NO |  | 400 |  |  | 0 | N
LSPSSKM | NS | 2025 | 2 | PVC Board 4x7 Make - Havells/Philips | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 3 | PVC Board 6x8 Make - Havells/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 4 | Switch 6A Make - Anchor/RK Lite/Havells | NO |  | 60 |  |  | 0 | N
LSPSSKM | NS | 2025 | 5 | Socket 6A Make - Anchor/RK Lite/Havells | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 6 | Three Pin plug top Make - Anchor/RK Lite/Havells , 5-15amp | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 7 | PT bulb 60W, 230Volt Make - Phillips/Surya For Electrical Panded type | NO |  | 300 |  |  | 0 | N
LSPSSKM | NS | 2025 | 8 | PT bulb 40W, 24Volt Make - Phillips/Surya For Electrical | NO |  | 300 |  |  | 0 | N
LSPSSKM | NS | 2025 | 9 | PT Holder Ceramic Type Make - Havells/Surya | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 10 | Aluminium Tape (For Electrical) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 11 | Water Proof Tape ( For Electrical) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 12 | Cotton Tape (for Electrical) | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 13 | Glass Tape | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 14 | Ampire Tape | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 15 | Painting Brush O Size for Ele | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 16 | Painting Brush 1/2" for Electrical | NO |  | 12 |  |  | 0 | N
LSPSSKM | NS | 2025 | 17 | Painting Brush 1" forElectrical | NO |  | 12 |  |  | 0 | N
LSPSSKM | NS | 2025 | 18 | Painting Brush 4" for Electrical | NO |  | 12 |  |  | 0 | N
LSPSSKM | NS | 2025 | 19 | Varnis Make - Doctor Brand Imersion (1 liter each) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 20 | Hylogen Tube 500Watt Make - Havells/Philips , Bajaj | NO |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 21 | Hylogen Holder 500Watt Make - Havells/Philips | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 22 | Room Heater Coil 1000Watt Make - Anchor/Havells | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 23 | Heater Coil 1500watt Make -Anchor/Havells , | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 24 | Araltide | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 25 | Rusotoline for Electrical Dept. each 1 leater | LITER |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 26 | Motor Teruminal frame size- 90 (as per sample) Make- ABB | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 27 | Motor Teruminal frame size- 100 (as per sample) Make- ABB | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 28 | Motor Teruminal frame size- 112 (as per sample) Make- ABB | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 29 | Motor Teruminal frame size- 132 (as per sample) Make- ABB | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 30 | Motor Teruminal frame size- 160 (as per sample) Make- ABB | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 31 | Motor Teruminal size- 2E2HXM280SM4 (as per sample) Make- ABB | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 32 | Trasformer oil Make- Power Oil Servo | LITER |  | 600 |  |  | 0 | N
LSPSSKM | NS | 2025 | 33 | G.I. Nut Bolt 6x25mm | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 34 | G.I. Nut Bolt 6x50mm | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 35 | G.I. Nut Bolt 8x35mm | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 36 | G.I. Nut Bolt 8x65mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 37 | G.I. Nut Bolt 12x65mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 38 | MK-1 Starter 6.5A Make- L&T | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 39 | MK-1 Starter 10A Make- L&T | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 40 | MK-1 Starter 16A Make- L&T | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 41 | MK-1 Starter 32A Make- L&T | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 42 | Motor 3.7KW, 5HP 1445 RPM Frame Size- 112 Make-Siemens Flange type | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 43 | Capaciter 2.5MFD Make- bajaj/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 44 | Capaciter 4MFD Make- Bajaj/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 45 | Capaciter 8 MFD Make-Bajaj/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 46 | Exhaust Fan 18", 220V Single Phase Make- Crompton/Havells | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 47 | Cooler kit motor set 16", 220V Single phase make- Crompton/Havells | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 48 | Tullu Pump 0.05 HP for Cooler Make- Crompton | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 49 | Celling fan 230 Make-Anchor/Bajaj | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 50 | Pedastal fan 230V 250watt Make- Crompton/Anchor | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 51 | Cable Tai 300mm (for electrical) | NO |  | 400 |  |  | 0 | N
LSPSSKM | NS | 2025 | 52 | Cable Tai 150mm (for electrical) | NO |  | 400 |  |  | 0 | N
LSPSSKM | NS | 2025 | 53 | Panel Cooling fan model- REC- 220- 60TB2 VAC-230, 50 Hz 0.40A Make- Rexnord | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 54 | Hole Cutter for Panel cutting 25mm, Tapariya | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 55 | Copper patty 10x40mm | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 56 | CRC Seal Loat (HT Panel) Red Ureth one Coating | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 57 | Aluminium Lug 35mm ring type | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 58 | Aluminium Lug 50mm ring type | NO |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 59 | Aluminium Lug 70mm ring type | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 60 | Aluminium Lug 95mm ring type | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 61 | Aluminium Lug 120mm ring type | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 62 | Aluminium Lug 150mm ring type | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 63 | Aluminium Lug 185mm ring type | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 64 | Aluminium Lug 240mm ring type | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 65 | Aluminium Lug 6mm ring type 6mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 66 | Aluminium Lug 6mm ring type 8mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 67 | Aluminium Lug 10mm ring type 8mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 68 | Aluminium Lug 10mm ring type 6mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 69 | Aluminium Lug 16mm ring type 8mm Dia | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 70 | Aluminium Lug 16mm ring type 10mm Dia | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 71 | Aluminium Lug 25mm ring type 10mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 72 | Aluminium Lug 4mm ring type 6mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 73 | Aluminium Lug 4mm ring type 8mm Dia | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 74 | Copper Lug Pin type 10mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 75 | Copper Lug Pin type 16mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 76 | Copper Lug Pin type 25mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 77 | Copper Lug Ring type 6mm (as per sample) | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 78 | Copper Lug Ring type 10mm (as per sample) | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 79 | Copper Lug Ring type 16mm (as per sample) | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 80 | Copper Lug Ring type 4mm (as per sample) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 81 | Igniter Havels , C.G. , Bajaj | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 82 | Engine Oil 15W40 Make- Servo/Total | LITER |  | 300 |  |  | 0 | N
LSPSSKM | NS | 2025 | 83 | Fuel Filter 750KVA For Sterling Make DG Set | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 84 | Oil Filter 750KVA For Sterling Make DG Set | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 85 | Separ Filter 750KVA Make- Sterling | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 86 | Coolent Alarm Sensor for 750KVA DG Set | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 87 | Distilled water | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 88 | Coolent (5Ltr. Each) | LITER |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 89 | Submersible Motor 5HP 5stage with pump Make-Texmo/CRI | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 90 | Bimetric Claim 33KV Transformer | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 91 | Motor 18.5KW, 25HP 735RPM Size-HXT22 5SMB4 Make- ABB Foot Mounting | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 92 | Motor 33KW, 45HP, 980RMP, Make-CG Size- ND225 Foot mounting with blover Set (Cooling type) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 93 | Putty (POP) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 94 | Bentax oil type Starter Three fase 5 HP | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 95 | Bentax oil type Starter Three fase 7.5 HP | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 96 | LED Type Tube Light Fitting Set 20watt,220V Make - Bajaj/Philips | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 97 | Tester Meke - Tapariya 415V (for electrical Yellow) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 98 | Screw Driver 512 (±) Make - Tapariya | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 99 | Box Spanner Set 8mm to 32mm Make - Tapariya (Richad type) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 100 | D- Spanner Set 6mm to 32mm Make - Tapariya | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 101 | Ring Spanner Set 6mm to 32mm Make - Tapariya | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 102 | Hexa blade 1/2" High Speed Make - tapariya | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 103 | Screw Type PT bulb 24 volt, 40W, Make - Bajaj | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 104 | Screw type PT Holder Make - Bajaj | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 105 | HPSV chock 70W Make - Crompton/Bajaj | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 106 | HPSV Lamp 70W Make - Crompton/Bajaj | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 107 | MCB Patty (Channal) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 108 | Gennext Actuator Push Botton, 22.5 dia tun release, with NC (Red) Make - ESBEE set | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 109 | Pannal Lock Knob Type - KTJSN ( Black & Sillver) | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 110 | T.B Connector Type CST 6 Make - Elemex | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 111 | T.B Connector Type CST 10 Make - Elemex | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 112 | T.B Connector Type CST 16 Make - Elemex | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 113 | T.B Connector Type CST 25 Make - Elemex | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 114 | T.B Connector Type CST 35 Make - Elemex | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 115 | T.B Connector Type KUT - 4 Make - Elemex | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 116 | T.B Connector Type KUT - 6 Make - Elemex | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 117 | T.B Connector Type KUT - 10 Make - Elemex | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 118 | T.B Connector Type KUT - 16 Make - Elemex | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 119 | T.B Connector, Type Bas bar 16mm, Make - Elemex | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 120 | T.B Connector, Type Bas bar 35mm, Make - Elemex | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 121 | Terminal Rail/Black type - D-DIV, Make - Elemex | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 122 | Indicator Lamp - Red type - LED, 19mm dia 63Volt | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 123 | Soldring Iron 25watt Make - Tapariya (for electrical) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 124 | Soldring Led (ranga) big Size | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 125 | Soldring paste | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 126 | Screw Driver 6" Make - Tapariya | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 127 | Battery cell 1.5watt Make - Ehoready (for Electrical) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 128 | Pencil cell 1.5volt Make - Penasonic (for Electrical) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 129 | Unbalance Motor type SEK- 180-4, 1.7kw, 1500rpm 415 volt, Sl no - 800419268 Makle -International Combustion | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 130 | Claimp meter 36 Auto BL Make - MECO | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 131 | Battery cell CR2032 3 valt Make - Panasonic | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 132 | Solid Spanner Set tubler 6mm to 24mm | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 133 | Nylon Rope 10mm | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 134 | Copper Lug ring Type 25mm (As per Sample) | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 135 | Copper Lug ring Type 35mm (As per Sample) | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 136 | Copper Lug ring Type 50mm (As per Sample) | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 137 | Copper Lug ring Type 70mm (As per Sample) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 138 | Copper Lug ring Type 95mm (As per Sample) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 139 | Copper Lug Ping Type 4mm Standard Type (As per Sample) | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 140 | Copper Lug Ping Type 6mm Standard Type (As per Sample) | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 141 | Contector 3TS 35 110VDC, Make - Siemence , AC | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 142 | 02 Ton AC gas filing charge | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 143 | 02 Ton AC outdoor motor , Voltas Carriar | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 144 | 02 Ton AC Indoor motor Voltas Carriar | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 145 | PCB Board for2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 146 | Compressor for 2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 147 | Sensor for 2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 148 | Wall Set for 2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 149 | Condensor 50mf Make- havells/philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 150 | Out door fan blade for 2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 151 | Condensor 10MFD Make- Havells/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 152 | Condensor 15MFD Make- Havells/Philips | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 153 | Clering nut set for 2 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 154 | Out door motor for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 155 | Gas filling charge for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 156 | Indoor motor for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 157 | Sensor for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 158 | Wall Set for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 159 | Outdoor fan blade for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 160 | PCB Board for 4 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 161 | Gas filling charge for 8 Ton AC Charge | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 162 | Outdoor motor for 8 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 163 | Indoor motor for 8 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 164 | PCB Board for 8 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 165 | Sensor for 8 Ton AC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 166 | Relay 0.9A to 1.25A 3RU 2126 - OK BO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 167 | Relay 4.5A to 6.3A 3RU 2126 - 1GBO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 168 | Relay 11A to 16A 3RU 2126 - 4ABO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 169 | Relay 20A to 26A 3RU 2126 - 4DO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 170 | Relay 27A to 32A 3RU 2126 - UEBO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 171 | Relay 36A to 50A 3RU 1146 - 4HBO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 172 | Relay 40A to 57A 3RU 1146 - 4KBO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 173 | Relay 57A to 75A SRU 1146 - 4KBO Siemens | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 174 | Relay 70A to 90A 3RU 1146 - 4LBO Siemens | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 175 | Relay 0.5A to 6A CSMPA 230V, C&S | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 176 | Motor rewinding 0.5 HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 177 | Motor rewinding 0.5 HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 178 | Motor rewinding 0.5 HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 179 | Motor rewinding 1HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 180 | Motor rewinding 1HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 181 | Motor rewinding 1HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 182 | Motor rewinding 3HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 183 | Motor rewinding 3HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 184 | Motor rewinding 3HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 185 | Motor rewinding 5HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 186 | Motor rewinding 5HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 187 | Motor rewinding 5HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 188 | Motor rewinding 7.5HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 189 | Motor rewinding 7.5HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 190 | Motor rewinding 7.5HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 191 | Motor rewinding 10HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 192 | Motor rewinding 10HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 193 | Motor rewinding 10HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 194 | Motor rewinding 15HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 195 | Motor rewinding 15HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 196 | Motor rewinding 15HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 197 | Motor rewinding 20HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 198 | Motor rewinding 20HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 199 | Motor rewinding 20HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 200 | Motor rewinding 30HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 201 | Motor rewinding 30HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 202 | Motor rewinding 30HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 203 | Motor rewinding 40HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 204 | Motor rewinding 40HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 205 | Motor rewinding 40HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 206 | Motor rewinding 50HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 207 | Motor rewinding 50HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 208 | Motor rewinding 50HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 209 | Motor rewinding 60HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 210 | Motor rewinding 60HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 211 | Motor rewinding 60HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 212 | Motor rewinding 75HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 213 | Motor rewinding 75HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 214 | Motor rewinding 75HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 215 | Motor rewinding 100HP RPM -970 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 216 | Motor rewinding 100HP RPM -1500 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 217 | Motor rewinding 100HP RPM -2900 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 218 | Indicator Lamp - Yellow Type - LED, 63VAC/DC 19mm dia Make - L&T , Ideal | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 219 | Indicator Lamp - Blue Type - LED, 63VAC/DC 19mm dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 220 | Indicator Lamp - Green Type - LED, 63VAC/DC 19mm dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 221 | Indicator Lamp - White Type - LED, 63VAC/DC 19mm dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 222 | Indicator Lamp - Red Type - LED, 22.5 Dia , 220 VAC/DC Make - L&T | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 223 | Indicator Lamp - Yellow Type - LED, 22.5 Dia , 220 VAC/DC Make - L&T | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 224 | Indicator Lamp - Blue Type - LED, 22.5 Dia , 220 VAC/DC Make - L&T | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 225 | Indicator Lamp - Green Type - LED, 22.5 Dia , 220 VAC/DC Make - L&T | NO |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 226 | Indicator Lamp - White Type - LED, 22.5 Dia , 220 VAC/DC Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 227 | Indicator Lamp - Red Type - LED, 110 VAC/DC, 22.5 Dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 228 | Indicator Lamp - Yellow Type - LED, 110 VAC/DC, 22.5 Dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 229 | Indicator Lamp - Blue Type - LED, 110 VAC/DC, 22.5 Dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 230 | Indicator Lamp - Green Type - LED, 110 VAC/DC, 22.5 Dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 231 | Indicator Lamp - White Type - LED, 110 VAC/DC, 22.5 Dia Make - L&T | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 232 | Petrol | LITER |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 233 | VRLA Battery 2V 300 AH make , Exide Power | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 234 | Snubber Card for 9MW Turbine Battery Charger | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 235 | SS Nut Bolt 6x30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 236 | SS Nut Bolt 8x30mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 237 | SS Nut Bolt 8x50mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 238 | GI Nut Bolt 3mm to25mm | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 239 | GI Nut Bolt 3mm to30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 240 | GI Nut Bolt 3mm to50mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 241 | GI Nut Bolt 4mmx25mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 242 | GI Nut Bolt 4mmx30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 243 | GI Nut Bolt 4mmx50mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 244 | Allnkey Bolts 5mmx25mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 245 | Allnkey Bolts 5mmx30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 246 | Allnkey Bolts 5mmx50mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 247 | Allnkey Bolts 6mmx25mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 248 | Allnkey Bolts 6mmx30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 249 | Allnkey Bolts 6mmx50mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 250 | Allnkey Bolts 4mmx25mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 251 | Allnkey Bolts 4mmx30mm | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 252 | WD-40 Contact Cleaners for Electrical Panel | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 253 | Diesel level meter for 750KVA DG Set , make Sturling as per Sample | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 254 | Plier 8" make Taparya ( For Electrical) | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 255 | Screw driver 6" , Make Tapariya( for Electrical) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 256 | New Indoor Unit 2 T , AC , Godrase , Cammi pro. | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 257 | Copper pipe For 2 Ton AC | METER |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 258 | Three phase Induction Motor , 2.2kw , 3HP , RPM,-1450 , Duty-51 Frame- ND 100L Food Mounting , make -CG | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 259 | HT Bus Bar Slue Red , Yellow Blue , each 5 mtr | METER |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 260 | Single phase tubewell stater 1 HP , Make - Cropten , Texmo 230 Vilt , Copicitor Run & Start Stater | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 261 | Hot Air Blower Havyduty , Midiam Size 230 Volt AC , Make - KPT , Bosch | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 262 | Hend Air Blower Havyduty , 230 Volt AC make- KPT , Bosch | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 263 | Hooter , Single phase , Range - 120 meter Electronic AC/DC Multi tone - Valtase Buzzer | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 264 | Player 8" , Make Taparia | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 265 | CRC DC , 2.26 For Electrical | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 266 | HT Bus Bar Insulater 12KV as per Sample | NO |  | 12 |  |  | 0 | N
LSPSSKM | NS | 2025 | 267 | HPSV Lamp 250W (C.G. Bajaj) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 268 | HPSV Chock 250W (C.G. Bajaj) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 269 | Modler Switch 10A (Achor Hacels ) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 270 | Modler Scoket 16 10A (Achor Hacels ) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 271 | Holder Angle ( Anchor , Havels) | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 272 | Pannel lock Knob type KTJSN (Bolck &Sillver) | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 273 | Fevi Seel Silence Gen Selant Machine(Holder) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 274 | Indicator Lamp. Yellow | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 275 | Copper Lug pin type 25 mm | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 276 | RTD 2xPT- 100 Duplex.3wire system 55316 sheathed miniral insulated with 1/2 inch ferrul connector head flame proof immersion length - OD 12mm Make - General | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 277 | Diaphargm type draft Gauge Make - Genral/Baumer/H-guru, Range -(O-1000) mmwc Size - 1/2" | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 278 | Resin cored solder wire (tin lead 60-40) 100 gms Make - Oswal (For Instrument) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 279 | Tapariya wire scrapper 150mm (For Instrument) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 280 | Tapariya 2in1 screw driver (mini/medium size) (For Instrument) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 281 | Tapariya 813 Ac tester (yellow) (For Instrument) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 282 | Tapariya C802 combination screw driver box Size - 0.5mm 0.8mm (For Instrument) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 283 | Tapariya 810 liner screw driver (2in1) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 284 | Mini SS Ball valve size- 1/4" | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 285 | Mini SS Ball valve size- 3/8" | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 286 | Mini SS Ball valve size- 1/2" | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 287 | G.I. Pipe Size- 1/2" (length - 6 meter each) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 288 | MS Ball valve size- 1/2" | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 289 | Digital Mulimeter make- Metravi Model- Metravi-10 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 290 | Digital Mulimeter make- Sanwa Model- CDT12 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 291 | Load Cell make- Minibea model-CBE1-50K | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 292 | Air Cylinder for Streching machine make- Newlong type- Jo1002-25-13 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 293 | Air Cylinder make- SMC model- CA2B50-50Z, Max.- 0.1 Mpa for begging machine | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 294 | Air cylinder Make- SMC model- CG1DN40-50Z | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 295 | Digital Tem. controller Make- Selec, model - TC303, i/p - Thermocouple (J.K.T.R.S) & RTD (PT100) | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 296 | Signal isolator (02 output) Make - Masibus, Model - 9000U+Signal Isolator H.W Code - 9000U+S-C-2-1, input - 4to20mA to output - 24VDCTPS Power - (20to265) VDC/AC | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 297 | Vibration Switch Make - ACD machine Co., Model - VS - 11/2V, Velocity - 0-30) mm/sac supply - 220VAC Max.delay-07 Sec. | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 298 | Low oil level switch with oil level sensor Make - ACD Model - LOLS, Supply - 220VAC | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 299 | Dosing pump Make - mitton Roy India Chennai, Model - B11PP, S.no - 11018, max. O/P - 6.0LPH max. Pressure - 10.0 kg/cm² | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 300 | Rotomass flow meter Make - Yokogawa, Model RCCS39/IR-A10ASL/BG/V2.S.No- D15900959 meter factors- SK-20-196529KD-1-8904F120-1,89,091 Tag no - FT06 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 301 | Pressure Transmitter Make - Siemens, Type - SITRANS PDS 111. Model - 7MF4033- 1FA-10-1AC6-Z, Range (0-150) kg/cm², Supply (0-24) VDC, Output (0-20)mA | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 302 | Water Magnetic flow meter, Make - Yokogawa, Model - AXFA100G, Style - SI, Supply - 230VAC Output - 4to20mA DA PLS - 30VDC, 0.2A | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 303 | Draft Transmitter Make - Siemens, Series - 7MF4433- 1DA02-1AC6-Z, Model SITRANS - P-DS-111, Range (-500mmh2O) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 304 | Timer based auto drawin valve make - Techno, Model - ADV15T, Size - 1/2", Supply - 220VAC working pressure - 10 bar | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 305 | Roto inject fluid Ndurance miarcol/ lubricant for single stage oil inject screw compressure Make - Atlas Copco Qty - 20 Ltr. | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 306 | Display Card for Yogogawa Rotomass massflow meter Model RCS 39/IR-A10AISL/BG/V2, S.no D15900959 (with installation service & support) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 307 | Effluent monitoring system for Cod,Bod,TSS,TDS,PH with Data Trasmission to CPCB Serrer, Make -SCAN/Digisharp (As per Specification provided) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 308 | Effluent monitoring measuring sensor for parameter Cod,bod.TSS,TDS,PH with data Transmission to effuent monitoring system Make - Scan/Disisharp (As per specification Provided) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 309 | Copper tube for instument air,Size - 3/8 inch length - 25 mtr. | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 310 | Air Filter Regulator Make - Shavo Size - 1/4" (inlet & outlet) medium Size model - 114SN-201m-m6k | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 311 | Meco Multimeter Fuse Size - ø6x25 Specification - 250V 10A | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 312 | Instrument digital Non Contact IR infraced Thermometer temperature Gun for industrial parpose make - Meco/HTC Helect/Beetech range - (0-1000) Degc | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 313 | Digital Multimeter fuse Make - Little fase Rating - FLV44/100A,1000V AC/DC | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 314 | Digital Multimeter fuse Make - Little fuse rating - FLV11A,100V AC/DC | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 315 | Magnetic Flowmeter Make- Yokogawa Model - AXF080G suffix - PNALis - Call- 2NB Size- 80mm meter factor - L- 0.0949 H. 0.9402 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 316 | Lenevo LED for DCS Panel, Make - Havells Lamp Type - 5WLED6500K | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 317 | Signal Cable for Yokogawa Conducting sensor SC4A | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 318 | Air Flow Conrol valve with regulator for power cylinder (As per sample) make- Electro Pneumatic size- 1/2 inch (inlet & outlet) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 319 | Air Flow Conrol valve with regulator for power cylinder (As per sample) make- Electro Pneumatic size- 1/4 inch (inlet & outlet) | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 320 | Sintered Bronze filter element (05 Micron) for shavo/Janatics air filter regulator Make- Shavo/Janatics, Length- 60mm, OD- 30mm | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 321 | Sintered Bronze filter element (25 Micron) for shavo/Janatics air filter regulator Make- Shavo/Janatics, Length- 60mm, OD- 30mm | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 322 | Sintered Bronze filter element (50 Micron) for shavo/Janatics air filter regulator Make- Shavo/Janatics, Length- 60mm, OD- 30mm | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 323 | Swass Panel Silica Reagent 2 Solution Red box, model- Orien 2230 RE, Make- Thermo Scientific (with 01 year validity) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 324 | Swass Panel Silica Reagent 3 Solution Black box, model- Orien 2230 RE, Make- Thermo Scientific (with 01 year validity) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 325 | 100 PPb silica standard make- Thermo Scientific model- Orien 223010 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 326 | Unit diaphragm for positioner make- MIL model- 8013 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 327 | Electropneumatic Positioner make- Power genere EPR- WNZSNGNTN | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 328 | Sealed Load acid battery (with 02 years warrenty) Make- Exide power safe plus, type- EP75-12 Volts- 12V, Capacity- 75AH | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 329 | Programmed ETP water Parameter display make- Scan, Software Moni: tool V 315 on Linux | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 330 | RS-485 Modbus 4 pair armoured pair twisted cable | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 331 | MOV cards for Auma- MOV Auma - K215.509 EFAC 380-480V/ ITR 50/60 Hz 110V 1.X mP VER- 1XX- 249- 15-09 -00- 02ME/4/16-366 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 332 | Auxilary Contactor make- Spracher + Schuch/Eaton model- C1A-3-12/ XT CD012 Hn- 25A, Vimp- 6KV (for Auma/Rotark Motoried valve) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 333 | 03 Valve maifold flange type with seal kit make- ASTER Engg. Model- 3VMT8102 Size- 1/2" Pressure rating 6000 Psig (as per sample) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 334 | 02 Valve 01 way manifold flange type make- ASER Engg. Pressure rating- 6000 Psig size- 1/2" (as per sample) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 335 | Oil seal no- 25627 (for Auma MOV valve) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 336 | Mounting flange with bearing set for auma motorised valve SAIZA32 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 337 | Mounting flange with bearing set for auma motorised valve SA15A32 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 338 | Glass fuse 150 mA, 250V | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 339 | Glass fuse F3A L250V | PACKET |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 340 | Fuse 5A, with Socket Female (Length- 3CM) (as per sample) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 341 | I- 7041D Digital i/P module- ICP Con, D1 channel-14 (Sink/Source) commans-1 (isolated) interface- RS485 Baud rate- (1200-115200) bps | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 342 | I-7024 Analog Ao Channels- 08 interface RS485 Baud rate (1200-115200) bps input V±10V (code 8), ± 5V (code 9) ±1W (code 10A) input mv±20mA (code 0B) ± (150mv) (code 0C) input mA ± 20mA (code 0D) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 343 | Local Remote switch assembly for Auma MOV SA12A32 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 344 | Power Transformer for Rotork motorised valve 2343820103 (as per specification provided) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 345 | Signal Card for Rotork motorised valve 2343820103 (as per specification provided) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 346 | Limit & Torque switch assembly for Rotork motorised valve 2343820103 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 347 | 11 Pin Signal cable with socket (card to selector switch) for Auma motorised valve (as per sample) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 348 | Limit switch make- Omron model- WLNJ-N | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 349 | CAT 6 UTP Lan lan outdoor cable (4 pair x 23 AWG) make- Sterlight/Polycab/Finolax, colour- Black (01 bundle of 305 mtrs. Each | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 350 | Cat 6 LAN cable connector, make- D Link/ I ball/Fedus (01 Pkt. Of 50 Nos each | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 351 | Steel shielded CAT-6 LAN cable connector make- Classytek/Kenable | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 352 | Lan cable tester NF-468 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 353 | Lan cable clamp connector Punching machine | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 354 | Fedus/Inditrust RJ45 RJ11 Crimping Tool KD-1 Proffesional punch down tool, Network lan cable tester ethernet colour coding & 25 Pcs RJ45 connectors combo set | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 355 | Round Pressure gauge Pointer lifter dial caliper pointer lifting tools 07/1/1.2mm | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 356 | AANIJ Power HSC8 6-4A 0.08-10mm², AWG 28-7 wire stripper Self adjustingcrimping plier tools chakra crimping tool | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 357 | Computer keyboard make- Dell/HP/Lenovo | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 358 | CPU for ABB DCS System (for instrument ) Specification- i3 Processor 4th version OR higher Ram minimum 8GB, Hard disk-1TB, SSD-256GB mother board- Zebronics H81 Graphic Card 1GB, Cabinet Loding system (04 Fans) to work station grade add on lan card ( 02 lan port required) Dell E2416H6 24" Screen LED, lit moniter, black full HD 1920x1080 resolution, Make - Dell | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 359 | Pu tube Size 6mmx4mm WP - 90 FSI Make - Amatic (length 100 mtr. each) | BUNDEL |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 360 | Pu tube Size 10mmx8mm COP - 90 PSI Make - Amatic (length 100 mtr.) | BUNDEL |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 361 | Pu tube Size - 8mmx6mm WP- 90PSI, Make - Amatic | BUNDEL |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 362 | Pu tube male connector (8mmx6mm) (1/4"x8mm) Make - Techno/festo/Amatic | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 363 | Pu tube male connector (6mmx6mm) (1/4"x6mm) Make - Techno/festo/Amatic | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 364 | Pu tube male connector (1/2"x8mm) Make - Techno/festo/Amatic | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 365 | Pu Tube Male connector (3/8"x8mm) Make- Tehno/Festo/Amatic | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 366 | Pu Tube Male connector (1/2""x12mm) Make- Tehno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 367 | Pu Tube Male connector (1/2""x10mm) Make- Tehno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 368 | Pu Tube Male connector (1/4""x10mm) Make- Tehno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 369 | PU Tube 'Tee' Size- 8mm with dummy plug Make- Techno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 370 | PU tube cross connector 8mm with dummy plug Make- Techno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 371 | PU Tube male connector (3/8"x10mm) Make- Techno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 372 | PU Tube 'Tee' Size- 6mm with dummy plug Make- Techno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 373 | PU Tube male connector (1/4"x12mm) Make- Techno/Festo/Amatic | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 374 | Pvc tape make - Steelgrip , for Instrument | NO |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 375 | Taflon tape length 12 mtr. Size - 1/2 inch Make - Ferolite (For Instrument) | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 376 | CRC 2-26 industrial spray qty - 500ml Make - CRC Industries (For Instrument) | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 377 | Rustoline qty . 1 ltr (For Instrument work) | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 378 | Anabond 202 (liquid) 100ml (For Instrument work) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 379 | Cello tape Size - 1/2" (For Instrument work) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 380 | Tapariya Combination plier 8inch (for inst.) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 381 | 9VDC 300mAh recharble battery Make - beston (For Instrument) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 382 | Brass fitting reducer for size- 3/8"x1/4" with connector ferrul fittings | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 383 | Brass fitting union for size- 3/8"x3/8" with connector ferrul fittings | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 384 | Relay Socket make- OMRON model-G2R-2-SN-AC-100V | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 385 | NO Fuse Breaker make- Mitshubishi model- NF32-SV Rating - AC200V, 75Kg, 5A | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 386 | Temperacture controler Make - eletronic system & device Model - ESD9243, Range - (10to600°C) input - Fe- Ko | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 387 | DPT Transmitter Make - Siemens, Model SITRANS PDSIII, Range - (0-200) m bar , Supply - 24VDC Series - 7MF4433-1DAO2 - 1AC6-2 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 388 | Position Transmitter make - MIL-KSB, Model MIL-400L | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 389 | ABB DCS Panel External Battery model- SB822 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 390 | SS Cyphon for Pressure Gauge Size - 1/2" | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 391 | Swass Panel Themo Scientific onio 2230xp Silica analyser display card | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 392 | Temp. Scanner (16 channel) Make- Masibus, model 85XX mix, input- 4 to 20mA DC, Range- (0-100%) power supply - 230V AC option RS-485 modbus protool | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 393 | Motorised Valve with Epact motor, make- Auma type- S1232, Can No. 7058616005 type- SA12A32 T Close- (40-120) Nm min/max. T open- (40-120) Nm min/max RPM-32 IP-67, Lubricant EPO WD No- 3- WDP- B2G Mat.- N483538 with 4 Epac17523, Make- Auma Comon No- 7052716004-02 W/D No.- 3 WDP- B2G code- 2DAA103A- A2BD0 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 394 | Limit Switch make omran model WLCL(Spring type) | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 395 | PhotoElectric Sensor for Newlong Strectching sewing machine , make optex , model-BGS , Sensing distance-300mm Z30N | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 396 | Air Cylinder, make- SMC Model-CG1DN40-50z | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 397 | Rotamass Massflow Converter make , Yokogawa Model- RCCF31- AHZA/Bg/MB3/HP/1E1. Range- (0-190) TPH. 5 No , D15900961 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 398 | Positioner for Actuctor Electro Pneumatic Positioner make Rotex, Model .RTX1000-R-D-2-RO , 2G-4R. ST. HD. N. Sr.no. RTX/24/6542 Supply Bess . 1.4 to 5.0 bar inpat Signal 4 to 20 ma | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 399 | Sealed lead acid battary (eith 02 year warenty) make Exide Power safe plus Type- EP75-12. Volts-12 Copacity-75AH | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 400 | RTD. 2xPT100/3w . Ss316 , Sr no. R16090660 . Lenth. 150mm , Tag no.-ITE937 , make Gauge bourabn Pvt.ltd. | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 401 | ABB DCS DI 818 Module Digital input 24 volt . 18 Channel. 3BSE0085C8R1 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 402 | ABB DCS DI830 Module Digital input 24V. 16 Channel | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 403 | ABB DCS DO818 Module Digital output 24V. 32 Channel 3BSE069053RI | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 404 | ABB DCS TB840A Module bus Claster Modem 3BSE037760R1 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 405 | ABB DCS TB822 Rechargeble Battary Unit 3BSEO18172R1 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 406 | ABB DCS Liu Unit | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 407 | ABB DCS. Profibus Connector make. Vipa | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 408 | ABB DCS SMPS , 10A make- Meanwell/Phoenix | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 409 | ABB DCS SMPS. 5A , Make- Meanwell/Phoenix | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 410 | Relay board 16 channel 24 V. DC 5A 1NO/NC ( for ABB DCS Panel) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 411 | Jumbo Display , Make Masibus Model no-40941n"Sr no.-20122605 , Power - (-55 to 0265) V. DC 125 to 300 VDC | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 412 | Piolet Valve For Positioner , Make . Forbes Marshall model no.- P1609-281 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 413 | Piolet Valve For Positioner , Make . Forbes Marshall model no.- P1610-290 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 414 | Piolet Valve for Positioner make. Forbes Marshall Model no.- P22-C1-027P | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 415 | Protessional Air Blower with dust Etraction Heavy duty (820W. 225 kg) make . Bosch , Model- GBL 82-270, for instrument | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 416 | Solenoid Valve with Coil make . Neles Model no. VAQ213G00 Operating Pressur 3 to 10 bar Temperture ( -10 ̊C to+70° C) Media -(Ari 50UM filterd Coil Details. Supply- 220VAC make.mpm (for Instrument) (For WTP Oltrafilter RO Panel maint Spare Puspose) | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 417 | Solenoid valve eith Coil make, Rotex Automation Sr. no.- 16028026 -5/10 Type - 33101-20-6R Media - Air | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 418 | Temperature Scanner For 5mw GRP Panel , Model no. Microscane. 102 . i/p 16 Channel number of output 8 Relay 1 c/o Input Type. RTD PT100 Communication. RS485 Power Supply. 100-270V AC/DC , IRC1- 47.63HZ Inst. S/no.- ABO 964 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 419 | Temperature Scanner For 9mw Turbine Generator Relay Panel Model Microscane. 102 . no of input 16 Channel input Type -RTD PT.-100 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 420 | Oil Filter make Atlas Copco Range(15bar max - 02 nos) (25 bar max -04 nos) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 421 | Compressor Radiator(Air Type) make. Atlas Type for Boiling House Compressor GA 37+ , Part no.- P1625890302 ,Serial no. S16060161-140 , Design Pressor , 14.5bar rain design tem , 120°C Test pressor , 21 bar | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 422 | Temperature sensor For Ga 37 + Compressor make Atlas Copco | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 423 | Temperature sensor For Ga 55 Compressor make Atlas Copco | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 424 | Controler For Air Compressor Dryer make. Atlas Copco Type. F140. 8102344816 , Serial no. Cox724724 Supply - 23CV , iD , 50HZ Power . 1.674kw. Coeishd-120kg | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 425 | Condensor For Air dryer , make. Atlas Copco Type - Fxe 14 . 8102493668 , Sr. no. - CN0202248 weight . 146kg . 400V . 50 HZ 1.9kw. 3 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 426 | SMPS (Swithed model Poer Supply ) Unit input - 200.240 VAC 50/60 Hz Output . 24 V . 2Amp. | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 427 | 1 ph 600VA Isolation Transformer . Frea - 50/60Hz , Pri- O/415V + 10% , make. Brand unit Servises | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 428 | Relay for panel , make Omron , Model. MY2N -GS. 24VDC 5A 30VDC . 5A. 30AC | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 429 | 1 to 2 kg steel lever Type Lubricant Grease Gun Complete with Risid Extension & Coupler | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 430 | Flow Transmitter , make - yokogawa , Model- EJ11OE , Style - 52 , JMS5 - 012 EB , Supply . 10.5 to 42 VDC , Output - 0 to 10,000 mmH2O (with Serrice& installation Support) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 431 | MOV(Motorised Valve) - make . Auma Com No. 7058716005 , Type - SA12A22 , T close . 40 120 Nm min/max , T Open -40-120 Nm Min/max , RPM. 22. IP-67 , wd no.-3wp.B2G | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 432 | 1 to 2 kg steel lever Type Lubricant Grease Gun Complete with Risid Extension & Coupler | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 433 | Solenoid Valve make- Rotex , Type - 30125-3-2R-B5-M6 , Range -(0-4)ATM | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 434 | Flow Transmitter , make - yocogawa , Model- EJ11OE , Style - 52 , JM55 - 012 EB , Supply . 10.5 to 42 VDC , Output - 0 to 10,000 mmH2O (with Serrice& installation Support) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 435 | Mov (Motorised Valve) make Auma , Com No. - 7058716005 , Type- SA12A22 , TC10SC - 40-120 Nm Min/Max , Topen - 40. 120 Nm , Min/Max. , RPM-22 , IP-67 , WD no- 3WP - B2G | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 436 | ESP level Sensor , model no.-550 , Probe length -610mm , make-EIP Enviro level Control pvt. Ltd. | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 437 | Safety Helmet with Plastic Cradle, ISI Marked Colour - Yellow Make - Karam/Udyogi | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 438 | Safety Helmet with Plastic Cradle, ISI Marked Colour - White | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 439 | Safety Helmet with Plastic Cradle, ISI Marked Colour - Blue | NO |  | 20 |  |  | 0 | N
LSPSSKM | NS | 2025 | 440 | Standard Safety Goggle (Transparant) | NO |  | 150 |  |  | 0 | N
LSPSSKM | NS | 2025 | 441 | Safety Industrial Cotton Nose Mask | NO |  | 500 |  |  | 0 | N
LSPSSKM | NS | 2025 | 442 | Industrial Safety Rubber hand gloves 16" Heavy duty (Good Quality) | NO |  | 30 |  |  | 0 | N
LSPSSKM | NS | 2025 | 443 | Industrial Anticat Cotton Knitted Safety Protection grip work gloves for painter machine protect knitted cotton work gloves (Good Quality) | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 444 | Industrial Safety long Gumboot | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 445 | Reflective Safety Jacket Green Colour | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 446 | Reflective Safety Jacket Orange Colour | NO |  | 250 |  |  | 0 | N
LSPSSKM | NS | 2025 | 447 | Safety Shoes for Man Size 7 No Make - Karan/Atom/Bata/Tiger | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 448 | Safety Shoes for Man Size 8 No Make - Karan/Atom/Bata/Tiger | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 449 | Safety Shoes for Man Size 9 No Make - Karan/Atom/Bata/Tiger | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 450 | Safety Shoes for Man Size 10 No Make - Karan/Atom/Bata/Tiger | NO |  | 100 |  |  | 0 | N
LSPSSKM | NS | 2025 | 451 | Safety Shoes for Man Size 11 No Make - Karan/Atom/Bata/Tiger | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 452 | 3M 1110 Ear Plugs Corded Extra Soft Reusable Earbuds Noise Concellation Couour - Orange (One Size fits most) | NO |  | 200 |  |  | 0 | N
LSPSSKM | NS | 2025 | 453 | Steel fire Bucket for fire place capacity - 9 liter Heavy Material | NO |  | 50 |  |  | 0 | N
LSPSSKM | NS | 2025 | 454 | Canvas Red fire Hose Pipe Diameter - 65mm Length - 15 meter | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 455 | Computer Mouse with USB Cable Make - Dell/HP/Lenovo for instrument | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 456 | Dell E2416 H6 24" Screen LED - Lit monitor bulk full HD 1920x1080 Resoluation Make - Dell | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 457 | DSL Corrent Collector Set for Mill Crane Tube tye (as per Sample) | SET |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 458 | Flange Mount 3 inch buterfly valve , grade 80PN 16, Make - mva etc | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 459 | Compressor radiator air type part no. p1625890302, sr no. S16060161-140 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 460 | Air filter make – atlas copco for Ga 55 compressor | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 461 | Air filter make – atlas copco for Ga 37+ compressor | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 462 | Air and oil saprator make- atlas copco for Ga 55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 463 | Air and oil saprator make- atlas copco for Ga 37+ compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 464 | Thermostat make – atlas copco for Ga 55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 465 | Thermostat make – atlas copco for Ga 37+ compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 466 | Inlet/ unloader valve kit for GA55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 467 | Inlet/ unloader valve kit for GA37+ compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 468 | Oil phase pipe for GA 55 compressor | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 469 | Pressor sensor for GA 37+ compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 470 | Pressor sensor for GA 55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 471 | WSD filter for GA 55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 472 | WSD filter for GA 37+ compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 473 | Combi cooler make – atlas copco for GA 55 compressor | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 474 | Pilot valve for E/P positioner Make - YTC yung tech model no. YT 1000RDM532S00 Sr. No PO716028 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 475 | E/P positioner Make - Rotark Model No. YT1000RDN132S00 Sr. No. S0914052 | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 476 | Pilot valve for E/P positioner Make - Rotark Model - No. YT1000RDN132S00 Sr. No. S0914052 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 477 | E/P positioner Make- PG Power Genex, Model - No. EPL-WB3SN4ZTN, input signel 4-20MA, Sr. No. 5122113 | NO |  | 4 |  |  | 0 | N
LSPSSKM | NS | 2025 | 478 | Pilot valve for E/P positioner Make - PG Power Genex, Model - No. EPL-WB3SN4TN, input signel 4-20 MA, Sr. No. 5122113 | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 479 | Solenoid valve with coil, Supply- 24V DC, Size - 1/2", body material- brass, pressure-0t10 bar (as per sample) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 480 | Pressure gauge, range 0-4kg Size- 1/2" Make - general/BAUMER/H GURU | NO |  | 8 |  |  | 0 | N
LSPSSKM | NS | 2025 | 481 | Solenoide valve Make - SMC, Model No. VFS2110-5D | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 482 | Al8330A Anolog input RTD 8ch 3BSE040662R1 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 483 | Al835A thermocouple/mV input 8ch 3BSE051306R1 | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 484 | Ethrtnet switch make planet industrial grade 8 port | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 485 | 24 volt DC coil for positioner, Electro Pneumatic Positioner Make - Rotex model. RTX1000-R-D-2-RO,2G-4R.ST.HD.N.Sr.no. RTX/24/6542 Supply bess. 1.4 to 5.0 bar input signal 4 to 20 ma | NO |  | 5 |  |  | 0 | N