## Commercial Bid
Lauh Purush Sardar Vallabh Bhai Patel Sahakari Shakkar Karkhana Mydt. Pandaria, Distt.-Kabirdham (C.G.)
Invitation of E-Tender for Engineering/ Manufacturing/Ele./Inst. A.M.C. and Servicing works - (2025-26)
Re-E-Tender No. 176185 Date- 29-09-2025
Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount | Ref Serial NO | CREDIT ITEM (0/1) | Calc Field(Y/N) | Offset/Reserve Price
LSPSSKM | NS | 2025 | 1 | AMC for Electrical Repairing & Servicing VFD 880 ABB , 690Volt, 430Amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 10 |  |  | 0 | N
LSPSSKM | NS | 2025 | 2 | AMC for Electrical Repairing & Servicing VFD 800 ABB , 415Volt, 390Amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 3 | AMC for Electrical Repairing & Servicing VFD 850 ABB, 415Volt, 94amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 4 | AMC for Electrical Repairing & Servicing VFD 850 ABB, 415Volt, 144amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 5 | AMC for Electrical Repairing & Servicing VFD 850 ABB, 415Volt, 166amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 6 | AMC for Electrical Repairing & Servicing VFD 580 ABB ,415Volt, 505amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 7 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 45amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 8 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 72amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 9 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 8amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 10 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 12amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 11 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 15amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 12 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 23amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 13 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 157amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 14 | AMC for Electrical Repairing & Servicing VFD 550 ABB 415Volt, 195amp. (ABB Only Manufacturer/Authorized Dealer) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 15 | AMC for Electrical Repairing & Servicing VFD PM330 Siemens 415Volt, 376amp. (Siemens Only Manufacturer/Authorized Dealer) | NO |  | 3 |  |  | 0 | N
LSPSSKM | NS | 2025 | 16 | AMC for Electrical Repairing & Servicing VCD Breaker 11 kv (indoor) ABB (ABB Only Manufacturer/Authorized Dealer) | NO |  | 15 |  |  | 0 | N
LSPSSKM | NS | 2025 | 17 | AMC for Electrical Repairing & Servicing VCD Breaker 33 kv (Outdoor) ABB (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 18 | AMC for Electrical Repairing & Servicing ACB (1250A) ABB ABB (ABB Only Manufacturer/Authorized Dealer) | NO |  | 5 |  |  | 0 | N
LSPSSKM | NS | 2025 | 19 | AMC for Electrical Repairing & Servicing ACB (2500A) ABB ABB (ABB Only Manufacturer/Authorized Dealer) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 20 | Weigh Bridge- 80MT (01) & 40 MT (02) of AMC Work 1. Technical Qualification. 2. Nap Tol Dept. Licence. 3. Weigh-Bridge Repairing/Maintanance 3 Years Experience. | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 21 | AMC for DCS Automation Software Make- ABB, Version- ABB WorkPlace Industrial IT800XA V5.1 RevD FP4 & DCS Panels- 2Pairs CPU Model ABB AC 800M PM864A with A1810 (2W & 4W), A0810, D1818, D0818, RTO AA1830 & TH_A1835A Modules. (Manufacturer/Authorized Dealer/Sub Dealer having 1 year similar work Experience) | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 22 | Spot Balancing (Site) I.D Fan 02 Nos. Make - Batliboi Speed-740rpm, Capacity- 144000m³/hr, Static pressure- 3510mm WG, temp. -180ºC Power- 165.308kw (ISO Certified Service Provider ) | JOB |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 23 | Spot Balancing (Site) F.D Fan 02 Nos.Make - Batliboi Speed-1440rpm, Capacity- 64800m³/hr, Static pressure-285mm WG, temp. -45ºC Power- 63kw (ISO Certified Service Provider ) | JOB |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 24 | Spot Balancing (Site) SA Fan 02 Nos. Make - Batliboi Speed-1440rpm, Capacity- 28800m³/hr, Static pressure- 695mm WG, temp. -45ºC Power- 66kw (ISO Certified Service Provider ) | JOB |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 25 | Spot Balancing (Site) P.S. Fan 01 No. Make - Batliboi Speed-1440rpm, Capacity- 12600m³/hr, Static pressure- 695mm WG, temp. -450ºC Power- 30kw (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 26 | Spot Balancing (Site) Can Chopper 01 No. Make - Uttam Speed-600rpm, 1600mm Swing Diameter NO of knives-36 Power- 134Kw (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 27 | Spot Balancing (Site) Fibrizer 01No. Make - Uttam Speed-750rpm, 2200mm Swing Diameter NO of Hammer-124, wight -20Kg. Each hammer, Power- 750Kw (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 28 | Spot Balancing (Site) Continouns Machine 06 Nos. Make - Uttam UC- 1500 Speed-1440rpm, Power - 90Kw (ISO Certified Service Provider ) | JOB |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 29 | Spot Balancing (Site) Batch Type Centrifugal Machine 02 Nos. Make - Uttam UC- 1750 Speed-1200rpm, Power - 280Kw (ISO Certified Service Provider ) | JOB |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 30 | Spot Balancing (Site) Bagacillo Blower 01 Make - Uttam (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 31 | Spot Balancing (Site)Sugar Hopper Hot & Cold Blower each 01 No. (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 32 | Spot Balancing (Site) Sugar Dust Catcher 01 No. Make - Uttam (ISO Certified Service Provider ) | JOB |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 33 | AMC of Sugar Bagging and stitching machine (Servicing must be done by authorised Service engineer) of Newlong/Hightech engineer/R.B tech./Adhiraj control system | SET |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 34 | Calibration work of magnetic water flow meter Make - Yokogawa, model AXF100G & Its transmitter model - AXFA14G at standard calibration laboratory (calibration certificate for One year validity to be provide after calibration) NABL/Yokogawa Approved. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 35 | Calibration work of yokogawa Make juice flow U type rotomass massflow converter/sensor (RCC539)and its rotamass massflow meter Make - YOKOGAWA range (0-190) TPH at standard calibration laboratory (calibration certificate for One year validity to be provide after calibration) NABL/Yokogawa Approved. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 36 | Compelete automation work & electronic circuit modification work of existing molasis weighing system with proper data storage & controlling unit (with 01 year service warrenty) Terms & Conditions 1. Service Provider should have minimum 3 Years experienc in similar nature of work. 2. Lodging and Boarding will be arranged by the service Provider. 3. They will be fully responsible for sefety Labour and tools, Tackle required related to job. 4. They will be registered under GST. 5. They will be submit deails of technical team related to job. 6. They will be taken maximum One Month period to do the job. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 37 | 75 TPH high pressure boiler 87 kg/cm² pressure and 515° C temperature water panel, bank tube , primary & Secoundry superheater, economiser coil and air heater ultrasonic thickness testing JOB Work (ASNT Certification) | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 38 | Dust collector air blower balacing work ISO Certified. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 39 | Bagasse blower Balancing work ISO Certified. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 40 | Gas Refilling work of 10 Ltr. Cylinder (Pure Nitrogen gas) (Authorised and 3 years similer work experience) For Hitech ESP Sox pollution Panel | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 41 | Gas Refilling work of 10 Ltr. Calibration gas mixture cylinde (Carbon monoxide N2.5, Nitrogen N 5.0 & Carbon dioxide N5.0) (Authorised and 3 years similer work experience) For Hitech ESP Sox pollution Panel | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 42 | Gas Refilling work of 10 Ltr. Calibration gas mixture cylinder (Oxygen- N4.0, Nitrogen N5.0) (Authorised and 3 years similer work experience) For Hitech ESP Sox pollution Panel | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 43 | Gas Refilling Work of 10 Ltr. Gas mixture Cylinder (Nitrogen & Sulphur) (Authorised and 3 years similer work experience) For Hitech ESP Sox pollution Panel | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 44 | On Line Tape Chenger (OLTC) Servicing Switch Yard | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 45 | DG Set 750 KVA Make- Sterling Servicing | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 46 | Heating Vantilation and Air Conditioning (HVAC) Maintenance and servicing work | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 47 | AC Maintenance work 2 Ton | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 48 | AC Maintenance work 4 Ton | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 49 | AC Maintenance work 9 Ton | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 50 | Mill roller arcing with standard Azucar 80 or high grade equivalent electrode for all mill rollers. ( Rate to be qnoted on per kg basis including consumable, machine, manpower) (Manufacturer/Authorized Dealer of Imco alloys) | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 51 | Repairing, Fitting and site balancing of fibrizer ( to and fro charge included) Only Manufacturer Imco alloys. | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 52 | Servicing, repairing & maintainace work of 04 Nos. Atlas Copco Air Compressors & 02 Nos. Atlas Air dryers (Atlas Copco Autorised) Per man days | Service Charge |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 53 | Calibration work of yokogawa Juice flow mass flow meter & Yokogawa water magnetic flow meter at factory site, (Mandays) authorized by Yokogawa ( Calibration certificate valid for 01 year to be provided after calibration by yokogawa approved/Authorized) | Service Charge |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 54 | Calibration work of 10 Nos. Siemens/Yokogawa flow transmitter, 05 Nos. Draft transmitter, 03 Nos. drum level transmitter at factory site ( Calibration certificate valid for 01 year to be provided after calibration by standard calibration laboratorty NABL authorized | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 55 | AMC of Batch type machine UC- 1750 Make Uttam Industries (Minimum 3 years similer work experience) | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 56 | AMC of UC- 1500 Continuous Centrifugal machine (Minimum 3 years similer work experience) | NO |  | 6 |  |  | 0 | N
LSPSSKM | NS | 2025 | 57 | Replacment of thermax Make ESP's collecting plates and emitting electrodes with lower frame of second stage (outlet side). Erection and Commissioning work under contractor scope All materials related to ESP in contractor scope Consumbles will be provided by sugar plant (Oxygen/DA/LPG Welding consumble etc) All Safety Measure in contractors Scope (Authorised- Thermax Enviro.) | LOT |  | Job work |  |  | 0 | N
LSPSSKM | NS | 2025 | 58 | Lagging & Insulation with 100mm thick- 50mm LRB mattress, & alluminum cladding - 24 gauge sheet All Materials will be in contractor scope All tools & manpower in contractor scope | PER Sq MTR |  | Job work |  |  | 0 | N
LSPSSKM | NS | 2025 | 59 | DCS Upgredation work from existing window 7 ABB800xA5.1 to window 10 ABB800xA 6.1.1.1 Present System 1. Version- ABB800xA5.1, Upgrade System - ABB800xA 6.1.1.1 Present System 2. Work Stations windows OS- Windows 7, Upgrade System - Windows 10 Present System 3. Servers - 02 Nos, Upgrade System - 02 Nos Present System 4. Operating Stations - 04 Nos, Upgrade System - 04 Nos Present System 5. Monitors - 06 Nos, Upgrade System - 06 Nos Thay Should Provided Full Services Support for two year or 2 Crushing Season. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 60 | Compelete automation work & electronic circuit modification work of contineu emmission monitoring system (CEMS) with proper data storage and controling unit (with 01 year service warenty) 1. Service provider should have experience in similar of work . and service provider must performance certificate of similar work 2. Elctronic equipment, programmed controller and parts will be arranged by the service provider. 3. They will be fully responsible for safety of their own & their support staff 4. They will be registered under GST. 5. They will be submit details of technical team related to job. 6. They should complete the job before crushing season starts. 7. Thay Should Provided Full Services Support for two year or 2 Crushing Season. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 61 | Complete Automation work & electronic circuit modifacation work of existing lubrication system (Mill House) with proper data and controlling unit (with 01 year service warranty) Make- Elecon Peripherals Limited , type- LCPFORZ Pump FLs W.O. No.- 2158, Supply-415V load- 1.1KW. control- 220V sr. No. 2158/1, DRG No. - DF-2BB-2001-RO, PLC- Siemens type- LOGO- 230RC Model no.- DM8 230R Terms & Conditions 1) Service Provider should have experiance in similer of work and service provider must performence certificate of similar work. 2) Electronic equipment programmed controller & Parts will be arranged by the service provider. 3) They will be fully responsible for safety of their own & their support staff. 4) They will be registered under GST 5) They will be submit details of technicals team related to Job. 6) They should complete the job before crushing season starts. 7) They should provided full service support for two year or 2 Crushing season. | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 62 | Complete Automation work and electronic Circuit Modification work of existing lubrication system (Mill House) with Proper data and Controling Unit Job work ( with 01 year Servive Warranty) make - Eiccon Peripherals limited ,Type- LCPFORZ PUMP FL-5 W.C No. 2158 , Suply - 415V load - 1.1kw.Control-22DV, Sr. 2158/DRG no.- DF-2BB-2001 -RO , PLC Siemens , Model no.-DM8-230R , Terms Conditions , (a) Service provider should have experiance in similar of work & Service Provider must performence certificate of semilar work , (b) Electronic Equipment program controler & Part will be arrange by the service provider , (c) They will be fully rensposible for safety of their support staff , (d) they will be registered under GST , (e) they will be submit detaiols of technicals team related to job , (f) They should Provided fully service support for two year. (g) They should Complete the job before Crushing season Start | JOB WORK |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 63 | Calibration work of mass Flow meter , Model - RCCS39/IR-A10 A1SL /BG/V2 Serial no. D15900959 Meter Factors. Sk20 1956 . 29 KD 18904 , f120 , 180. 091 Rotamass flow Converter model - RCCF31 - AH2A /BG MB3/4p/IEI , Serial no. - D15900961 , Supply - 90.264VAC , 47.63Hz , make-yocogawa | JOB WORK |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 64 | Calibration work of Flow Transmitter , make- yocogawa , Digital YEW FLO vortex Flow meter , model - DYO 80 , Style -52 Suffix - NBLBA1 -N , MWP - 1.89 , MPA at 38 °C Process Tem - (-29 to 250°C) K- Factor - km 3.298 P/1 , No. S5xAO 9152 14-2 2021 . 10 (For - Cigar to Dereator tank link flow measarment) | JOB WORK |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 65 | Overhauling . Servicing checking and Calibration of sugar silo Newlong make Automatic weighing and Bagging machine indudects Overhauling Servicing of all Pneumatic air Cylinders . Solenoid Valves , Calibration , Testing and Recommissioning work with load trails . no. of Cotroller -02 , make - Oni Pluse , PLC-MITSUBISHI , FX3G.5DM | JOB WORK |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 66 | Job work for mill bearing lubrication conection each mill 10 conection number of mill 4 nos total no conection mat copper pipe 8mm or od with spare format. Nut with socket location main pipe distubetor to mill bearing (40 Conection) | Job Work |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 67 | Mill Setting Hydrolic Pump (Hand Pump) Repair Job | NO |  | 2 |  |  | 0 | N
LSPSSKM | NS | 2025 | 68 | 100Kg. Weigh Calibration work 1. Technical Qualification 2. Nap tol Dept. Licence | NO |  | 1 |  |  | 0 | N
LSPSSKM | NS | 2025 | 69 | Sugarcane Supply Slip Size- 1/8 (As per Sample) for Printing work | NO |  | 15000 |  |  | 0 | N
LSPSSKM | NS | 2025 | 70 | Sugarcane Weight Slip Size- 1/8 (As per Sample) for Printing work | NO |  | 20000 |  |  | 0 | N
LSPSSKM | NS | 2025 | 71 | Sugarcane Survey Book (As per Sample) for Printing work | BOOK |  | 76 |  |  | 0 | N